Eichendorffstraße 28

D-78054 VS-Schwenningen

Telefon	+49 (0) 7720 3002-0

Telefax	+49 (0) 7720 3002-11

sales@barigo.de

| Artikel/Article | Barometer- Thermometer & Uhr / Clock |
| --- | --- |
| Artikel -Nr./Article No. | 386MA |
| Netto EK/Purchase Price net |  |
| Beschreibung/Description | Wetterstation / Weatherstation |
| Technische Daten: | Technical Specifications: |
| Funktionen: Präzisions- Barometer Darstellung des relativen Luftdrucks in hPa/ Torr wahlweise In/hg Stellzeiger Temperatur kompensiert Comfortmeter Darstellung der Temperatur in °C optional °F Darstellung der relativen Luftfeuchtigkeit in % Quarz Uhr Darstellung der Uhrzeit Stunde / Minute / Sekunde Technische Daten: Mechanisches Barometerwerk mit Sichtwerk Mess- und Anzeigenbereich d. Relativdruckes: 940… 1060hPa Wirkungsbereich 0… 1.000 m. ü. M. Auflösung der Skala 1hPa Fehlertoleranz +- 3hPa im Bereich 980…1030 hPa Comfortmeter Thermometer: 5°C…40°C; Abweichung +/- 1°C im Bereich 0°…40°C Hygrometer: 20%…100%; Abweichung +/- 5% im Bereich 40%...90% Quarzuhr Röm. Ziffern 1…12h / arab. Ziffern 5…60min Quarzwerk, Stromversorgung: 1 x LR 6 1.5V AA (Mignon) Gehäuse / Skala: Messing / Mahagoni Ausführung poliert Maße Montageplatte: 370 x 130mm (Mahagoni) Maße Skala: ø85mm Gewicht: 770g Verpackung: Maße Geschenkverpackung 38,5 x 13,5 x 5,4cm Gewicht inkl. Instrument 780g EAN Code: 4033855002284 Zolltarif-Nr.: 90258080 Ursprungsland: Deutschland | Functions: Precision Barometer Display of relative Air Pressure in hPa/ Torr or In/hg (selectable) Adjustment hand Temperature compensated Comfortmetermeter Display of temperature in °C (optional °F) Display of humidity in % RH Quartz Clock Display of time Hours / minutes / seconds Technical Data: Mechanical & visible Barometer movement Measuring and Display of Relative Air Pressure: 974… 1053hPa Best effectiveness 0…1.000 m S.L. Resolution of Scale 1hPa Linearity deviation +- 3hPa between 980…1030 hPa Comfortmeter Thermometer: 5°C…40°C; accuracy +/- 1°C In the range of 0°…40°C Hygrometer: 20%...100%, accuracy +/- 5% In the range of 40%...90% Quartz clock Roman Numerals 1…12h / arab. Numerals 5…60min Quartz Movement, Power supply: 1 x LR 6 1.5V AA (Mignon) Frame / Dial: Brass case Dimension mounting Board: 370 x 130mm (Mahogany) Dimension scale: 85mm Weight: 770g Packaging: Measures Gift Box 38,5 x 13,5 x 5,4cm Weight incl. Instrument 780g EAN Code: 403385502284 Customs tariff code: 90258080 Country of origin: Germany |

# Text boxes

## Produktinformation

Product Information